Title
Calibration and COOL Database
Murrough Landon
12 September 2007
Overview
Preprocessor status
CP/JEP status
Tools
Outlook

---
Calibration DB Overview
Ideal procedure
  - Calibration run: store results of each run in COOL folder(s)
  - Separate validation step: copy/merge new calibrations to set of “validated” calibration folders
    - Both above sets of data are output from programs
  - Run controller normally uses only the validated set
    - But allow use of unvalidated folders in Ppr calib run sequences
  - Calibration run, acceptance and validation criteria taken from folders of “run parameters” also in COOL
    - This information needs to be hand tuned by experts

---
Preprocessor Calibrations (1)
Set of calibration runs
  - DAC scan: find DAC settings for chosen pedestal
  - Pedestal run: sanity check, no new calibration data
  - Readout pointer scan: find signals for DAQ readout
  - PHOS4 timing scan:
    - find both fine timing: ADC strobe at pulse peak (1ns steps)
    - and coarse timing: align all channels in real time path (BC steps)
  - “Results run”: sanity check for timing
  - Energy scans: check linearity, decide how to fill LUT
Implementation status of scans
  - DAC, pedestal, readout scans all well tested
  - PHOS4 scan little tested (with ROD readout)
  - Energy scans not tested at CERN (SW tested at HD)

---
Preprocessor Calibrations (2)
Implementation status of scans
  - DAC, pedestal, readout scans all well tested
  - PHOS4 scan little tested (with ROD readout)
  - Energy scans not tested at CERN (SW tested at HD)
Implementation status of database
  - Done:
    - COOL folders exist for results of all scans
    - Run parameter folders for using them (or not) also defined
  - Not yet done:
    - Validation step or use of validated folders
    - Folders for common defaults (configuration settings)
      - Still have common values replicated for all channels

---
Preprocessor Calibrations (3)
Problems and questions
  - Existing scheme assumes calibrations done online with ROD data processed in real time in a GNAM monitoring task
    - However with tdaq-01-08-01 there is an as yet unresolved conflict between GNAM and COOL
    - For M4, the analysis was done “by hand” after the run
    - Whats the right strategy?
  - Present SW produces new results (or failures) for all channels at once (take it or leave it)
    - At least while commissioning, need to be able to update calibration for parts of the system while leaving the rest unchanged
      - Part of as yet missing validation step perhaps?
  - How to treat bad channels?
    - Is zeroing the LUT the answer to all types of problem?
  - People: Florian is busy with finishing his thesis

---
CP/JEP Calibrations
All CP/JEP “calibrations” are timing scans
  - Either input timing (CPM/JEM LVDS, CMM backplane)
  - Or interconnection (backplane fan in/out, CMM cables)
Implementation of scans
  - CPM & JEM with standalone programs (not multistep runs)
  - CMM software not yet updated to recent TDAQ versions
    - Did use multistep run – but is that still the best idea?
Implementation of database
  - COOL infrastructure defined for all CP/JEP calibrations
  - CPM scans now write to COOL, tested in Bham, not CERN
  - New JEM scan and COOL access SW still in development
    - People: Christian Göringer is now busy with exams...
  - CMM scans need update (BP) or implementation (cables)

---
Tools
Quick and dirty (for experts)
  - Variety of little programs and python scripts cobbled together to allow us to get something going for M4
COOL editor
  - Alvin is making good progress here and aims to have a first prototype in about a month
    - Should allow easier editing of run parameter settings
    - Though not really suitable for bulk calibration data
      - Apart from the occasional little tweak perhaps
Other tools
  - No one is looking at tools for trends, analysing successive calibrations, stability, etc, etc

---
What might we have for M5?
Still not what we ought to have...
Preprocessor
  - Would like simple LUT filling scheme
    - Present scheme assumes we do lots of energy scans
  - Also use of “validated” folder, and default settings
CP/JEP
  - CPM: Real time settings might all be there for M5?
  - JEM: Constraints on peoples time restricts chances of testing new software at CERN by the developer(s)
  - CMM: May not be enough time to update scans
    - But little enough data that we may be able to survive with little scripts
  - Readout pointers: still done by hand – capture in code?

---
DB technology
Still using a local SQLite file at point 1
Need to move to Oracle
  - Long term solution
  - Reliably backed up
  - Available to offline monitoring
  - Propogated to tier1
However COOL folder details may still evolve
  - COOL doesnt really handle “schema evolution”
  - Tier1 copying has problems if online DB drops and recreates tables

---
Summary
We just about made it through M4
M5 should be better
  - But maybe not by much
  - Key developers are otherwise occupied
Theres still a long way to go