Title
L1Calo Databases
Murrough Landon
4 June 2007
Overview
Recent Activitity
To Do List
Run types

---
L1Calo Database Overview

---
Calibration DB Model
For each calibration run
  - retrieve parameters from COOL folder
    - separate folders for each type of run (different parameter sets)
  - collect data from calibration sequence
  - process and store results from each run
    - separate folder of “unvalidated” results for each type of run
  - separate validation step
    - copy/merge results from validated run to folder for validated calibration results
  - normally use only validated folders in new runs
    - but in a sequence of calibration runs may want to use unvalidated results to execute the next run in the sequence

---
Calibration DB Progress
Preprocessor
  - analogue pulse pedestal & coarse and fine timing scans
    - operates entirely in the online framework (eg GNAM)
    - calibration saves results to COOL and run control uses them
  - pulse shape (BCID filter)
    - not yet implemented
  - energy calibration, Et correction
    - work started in ATHENA
      - implemented conversion service between online and offline IDs
Cluster & Jet/Energy Processor
  - internal timing
    - implementation in online framework in progress

---
Database To Do List...
More realistic tests of recent work
  - Have mostly used SQLite or MySQL for tests so far
DCS (crate/module monitoring) config and results
Cabling
  - Digital cabling presently in OKS. Final cabling can now be generated. Changes required for next tdaq release
  - Analogue cabling: some work done on relational DB
    - how to correlate with TC database?
    - same issues of updating as for recent readout link discussion
Configuration
  - Some still in OKS: want to separate HW description from (run type dependent parameters) to be loaded from COOL
Tools

---
Run Types Discussion
Current L1Calo scheme in OKS (mostly)
  - Many run types (>20)
    - Digital tests using playback
    - Various calibrations
      - standalone or with Tile/LAr
    - Physics
  - TDAQ run type string presently ignored!
  - L1Calo run types are object structures
    - Settings for calibration scan (moving to COOL)
    - Control of playback data (linked to OKS HW)
    - Special parameter sets (hope to move to COOL)
  - Would like run type to include sets of applications to run
  - Future TDAQ global run type could also be an object with some attribute/relationship to subdetector run types