Title
Calibration Status
Murrough Landon
29 June 2011
- Energy Calibration
  - Stabilities/instabilities
    - …of gains & databases
- Tools
  - And what we are still missing
- Summary

---
Updates of Gains
- Only one complete gain update this year (18 March)
  - Details in talk by Juraj in Cambridge:
    - https://indico.cern.ch/getFile.py/access?contribId=6&sessionId=0&resId=0&materialId=slides&confId=120126
  - Since then aiming to keep the calibration stable
  - Cross checks with physics runs suggests we have it ~right
    - At least in most places
- Few subsequent changes in limited areas
  - EM overlap region gains updated after timing changes
    - But now Barrel component gains from pulser are 10-30% “too high”
    - Comparison of Calo/L1Calo in Physics runs suggests lower gains
    - We are unintentionally making (variable) dead material corrections!
  - Channels where HV known to have changed
    - About 40 channels, all in EM layer, changes from 10% to factor of 2

---
Comparison with Data: Looks Good!

---
Updates of Understanding (1)
- Twice we thought we needed more gain updates
  - Both times we were wrong
  - Finding out why has taken about 40 emails with LAr experts
    - To whom many thanks for their patience and careful answers!
- April: drifts of ~10% were observed in 20-30 towers
  - But without any known HV changes
    - We did not change gains because we didnt understand this
  - It was due to a change in the LAr database
    - We were automatically picking up an old version (without warnings)
  - The new DB has additional cells marked as dead or noisy
  - These are zeroed in the calculation of LAr tower energy
    - Even if only slightly noisy
    - But are still active in the trigger => inconsistency!

---
Drifts in HEC towers

---
Updates of Understanding (2)
- Recently: moved to Athena 16.6
  - Saw big gain changes: 20% in FCAL, 5% in EMEC
EM layer gains: (Right – Wrong) / Wrong: Scale +/- 10%
Hadronic layer gains
(Right – Wrong) / Wrong:
Scale +/- 50%

---
Updates of Understanding (3)
- Again an issue with the LAr database
  - Some folder names (or tags) were changed
    - A rare occurrence but needing manual update of job options
  - Now changed to the new folders
    - Gains back to square one (ie March values)
  - Meanwhile we (or at least Juraj) learned many things
    - We must check we use correct pulser->physics corrections in LAr
    - We should think about the treatment of noisy cells
    - We have to pay attention to many many LAr details which we had hoped we could take “out of the box”
  - All this has diverted attention from (a) TileCal and (b) work on tools

---
Updates of Timings
- More details from Valerie
- Summary of changes:
  - General timing update in early 2011
    - Few towers changed by more than 1-2 ns
  - Updates of LAr TBBs and L1Calo timing in EM overlap
    - Large (10-20 ns) changes of barrel component
    - Got it wrong first time round, second attempt cross checked by Damien and Katy
    - Seems OK in data
    - But would be good to check with another special run

---
Updates of Timings: LAr EMEC TBBs
- EMEC TBB delays:
  - In May, LAr changed the relative timing of front (strips) layer (by 3 ns) compared to the rest in TBBs for the EMEC
  - No adjustment in L1Calo yet: pulse shape will change slightly as strips have ~20-30% of the energy (middle layer timing was not changed)

---
Tools We Have & Progress Made
- Smooth operational schedule
  - Runs taken by calorimeter shifters
  - Automatic analysis of runs
    - At point 1 for standalone DAC and pedestal runs
    - At the CAF for calibrations with LAr and Tile
  - Summaries and plots available quickly on the web:
    - P1: https://atlasop.cern.ch/l1calo/CalibRunsP1.php
    - CAF: http://cern.ch/atlas-l1calo/calib/CalibRunsCAF.php
  - Machinery generally works smoothly
    - And now also have CAF testbed at Birmingham (thanks to Pete)
- Full receiver mapping
  - Two receiver channels per tower for FCAL23 & EM overlap
  - Now have procedures for calibrating those gains separately

---
Tools in Development (1)
- L1Calo calibrations taken by LAr and Tile shifters
  - Will merge to single Calo shifter from August(?)
- L1Calo GUI tool being extended to take all Calo calibrations in parallel
  - Current L1Calo panels moved to “Subdetector Views”
  - Default: click “Do All” button for appropriate weekday
  - Tile added successfully
    - LAr and LUCID still to come...

---
Tools In Development (2)
- Tracking of HV changes
  - Store HV status for each run in sqlite file
  - HV plots in monitoring of physics runs
    - Compare HV status now with that of last calibration update
    - But still needs CAF results to be transferred to online DB
- Better CAF plots
  - Clearer display of gain changes

---
Developments Needed (1) [from March]
- Tower builder board (TBB) delay database
  - LAr still has a single set of TBB delays (text files)
  - Physics & calibrations need different TBB delays
  - Only solution up to now:
    - Overwrite physics delays before doing a calibration
    - Overwrite them again afterwards with the correct Physics delays
  - Somewhat hazardous...
    - Risk of taking next ATLAS stable beams run with wrong delays if the calibration is aborted without the correct delays being restored
  - Longstanding request to LAr SW experts to improve this!
    - Plan is to put separate physics & calibration delays into COOL
    - LAr aiming to do this by mid April [now mid July – before Paolo goes]
    - Until this, “shifter” calibration needs expert oversight

---
Developments Needed (2) [from March]
- New version of calibration results folders?
  - Outputs of calibrations are stored in “Results” folders
    - Separate folder for each type of calibration
  - These are single version folders, indexed by timestamp
    - Time stamp is just when the results were uploaded
      - Not when the calibration run was taken
  - Better to have multiple version folders, indexed by Run/LB
    - Time stamp would always be the calibration run number
    - Could upload new versions of results for the same run
  - This would need:
    - Changes to various software tools
    - Complete new set of folders
    - Suitable time to make the change (not while running)

---
Developments Still Needed (3)
- Monitoring for pulser runs
  - Extra automatic plots from CAF analyses to show problems
- CAF results need to be transferred to online DB
- Monitoring of trends of calibration results
  - Another long term wish list entry
- Analysis of pulse shape in pulser and physics runs
  - Plenty of ideas exchanged about physics “PHOS4” scan
  - Development of software has started
- More attention to TileCal
  - Correlating gain changes with known issues

---
Open questions
- Dead material corrections
  - In some deliberate scheme
- Rapid response to HV changes?
- Understanding of “ADC droop”
  - Talk by Yuriy?

---
Summary
- Calibration most fairly stable during this years run
  - Although databases in constant flux!
- Progress with tools and understanding
  - Regular Wednesday morning (technical!) phone meetings
  - Good communication with LAr and Tile experts
  - Next L1Calo/LAr/Tile calibration workshop 12 July
      - https://indico.cern.ch/conferenceDisplay.py?confId=143303
- But there are still many things to do...
  - So if you need an ATLAS qualifying task, just ask Juraj!